Violations Report - WW

# NPDES Permit Compliance Summary

Report Period:  October 1, 2021 - September 30, 2022

# Credit River city of - Stonebridge

MN0067261

- Facility/Permit information

## This section summarizes general information about your facility and permit. It includes a list of all of the contacts we have recorded for you. In particular, please ensure that the listed 24-hour contact for your facility is current. This report also provides you with a list of Minnesota Pollution Control Agency (MPCA) contacts for your facility.

Facility contacts

| Name | Relationship | Phone | Email |
| --- | --- | --- | --- |
| Chris Kostik | is responsible official for owns | 612-986-8162 | kostik@creditriver-mn.gov |
| Tyler Gagner | is 24-Hour emergency contact - Secondary for is Online Subscriber for | 763-434-5660 763-486-5736 | tgagner@nsuwater.com |
| Shannon Hughes | is DMR recipient for | 763-434-5660 | shughes@naturalsystemsutilities.com |

If any of the above contacts are inaccurate, please submit the appropriate form to NPDES.PCA@state.mn.us:

- To remove an Online Subscriber contact, please submit an e-Services: Request to remove account holder authorization (wq-wwprm7-100b)

- For all other contact updates, please submit a Permit contact change form (wq-wwprm7-72)

### Design flow

Facility Design Flow:  0.0140 million gallons per day (MGD) average wet-weather (AWW)/average daily (AD)

Facility information

EPA MINOR Facility

Plant Class:  Class C

Land application:

Permit expiration:  11/30/2032

SIC code:  4952 - Sewerage Systems

Treatment plant operators:

| Name | Email | Phone | Class | Expiration |
| --- | --- | --- | --- | --- |
| Adrian Starks | astarks@nsuwater.com | 612-434-2181 | C | 12/01/2025 |
| Tyler Gagner | 89tylerg@gmail.com | 763-486-5736 | B | 06/01/2025 |
| Shane Symmank | ssymmank@mmm.com | 612-402-5490 | B | 05/01/2024 |
| Matthew Flintrop | mflintrop@nsuwater.com | 763-292-0270 | C | 02/01/2024 |

If any of the above Treatment plant operators, including their associated contact information are inaccurate, please submit those edits to NPDES.PCA@state.mn.us.

### Geographical information

County:  Scott

Basin:  Minnesota River

Major Watershed:  Lower Minnesota River

Minor Watershed:  Credit River

Receiving Water:  <NO_DATA_FOUND>

Special Designation:  Not Applicable

Impaired:  Not Applicable

### MPCA staff assignments

Wastewater Data Manager:  Jennifer Satnik (jennifer.satnik@state.mn.us) 651-757-2692

Enforcement/Compliance:  Cara Omana (cara.omana@state.mn.us) 651-757-2891

Engineering:  Benjamin Carlson (benjamin.carlson@state.mn.us) 651-757-2682

Permitting:  Marcell Mikkelson (marcell.mikkelson@state.mn.us) 651-757-2134

# Compliance information summary

## This section summarizes the Discharge Monitoring Report (DMR) reporting and monitoring requirements of your permit and the information reported on your DMRs from October 1, 2021 - September 30, 2022.

| Total DMR forms required | Timely DMRs | Missing DMRs | Late < 10 days | Late 11 – 30 days | Late 31 – 90 days | Late > 90 days |
| --- | --- | --- | --- | --- | --- | --- |
| 45 | 45 | 0 | 0 | 0 | 0 | 0 |

DMR parameters

| Type of parameter | Total required | Missing | Percent missing | Limit violations | Percent violations |
| --- | --- | --- | --- | --- | --- |
| Limited parameters | 30 | 0 | 0.00% | 6 | 20.00% |
| "Report Only" parameters | 267 | 0 | 0.00% |  |  |
| All parameters | 297 | 0 | 0.00% | 6 | 2.02% |

# Alleged limit violations

## This section summarizes reported DMR values that exceeded the limits in your permit for October 1, 2021 - September 30, 2022.

| Station | DMR monitoring period | Parameter | Limit | Reported value |
| --- | --- | --- | --- | --- |
| GW 002 | 10/01/2021 - 10/31/2021 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 12 |
| GW 002 | 04/01/2022 - 04/30/2022 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 12 |
| GW 002 | 07/01/2022 - 07/31/2022 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 12.9 |
| GW 003 | 10/01/2021 - 10/31/2021 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 11 |
| GW 003 | 04/01/2022 - 04/30/2022 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 33 |
| GW 003 | 07/01/2022 - 07/31/2022 | Nitrite Plus Nitrate, Total (as N) in milligrams per liter - calendar month maximum | 10 | 15 |

# Late or missing DMR information

## This section summarizes late or missing DMR reports and missing individual DMR parameters for October 1, 2021 - September 30, 2022.

| Station | DMR monitoring period | Violation type | Submission due date | Submission received |
| --- | --- | --- | --- | --- |

Parameters missing from submitted DMRs

| Station | DMR monitoring period | Parameter |
| --- | --- | --- |

# Inspections

This section lists inspections conducted at your facility from October 1, 2021 - September 30, 2022.

| Inspection date | Inspector | Inspection type |
| --- | --- | --- |

# Incidents

This section lists reported wastewater-related incidents (releases, bypasses, etc.) related to your collection system or treatment plant/facility from October 1, 2021 - September 30, 2022.

| Incident date/time | Incident type | Dispatch # | Media impacted |
| --- | --- | --- | --- |

# Submittals

This section lists non-DMR submittals required by this permit during October 1, 2021 - September 30, 2022. This list may not include all submittals required during this review period. Refer to your permit for all submittals and due dates.

| Target date | Date received | Status | Requirement description |
| --- | --- | --- | --- |
| 12/31/2021 | 12/23/2021 | On Time | Submit a biosolids annual report annually. |

# DMR data submitted

This section lists all DMR data submitted for October 1, 2021 - September 30, 2022.

| Station ID | Parameter name | Limit | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GW 001 | Chloride, Total in mg/L - calendar month maximum | Report | 190 |  |  |  |  |  | 235 |  |  | 267 |  |  |
| GW 001 | Elevation of GW Relative to Mean Sea Level in ft - instantaneous maximum | Report | 1101.98 |  |  |  |  |  | 1105.99 |  |  | 1100.39 |  |  |
| GW 001 | Nitrite Plus Nitrate, Total (as N) in mg/L - calendar month maximum | Report | .8 |  |  |  |  |  | 1 |  |  | .75 |  |  |
| GW 001 | Nitrogen, Ammonia, Total (as N) in mg/L - calendar month maximum | Report | <.02 |  |  |  |  |  | .02 |  |  | <.02 |  |  |
| GW 001 | Nitrogen, Kjeldahl, Total in mg/L - calendar month maximum | Report | <.3 |  |  |  |  |  | .22 |  |  | .82 |  |  |
| GW 001 | Specific Conductance, Field in umhos/cm - instantaneous maximum | Report | 1520 |  |  |  |  |  | 1388 |  |  | 1590 |  |  |
| GW 001 | Temperature, Water (C) in degrees C - instantaneous maximum | Report | 11 |  |  |  |  |  | 7.8 |  |  | 12 |  |  |
| GW 001 | pH, Field in SU - instantaneous maximum | Report | 7.1 |  |  |  |  |  | 7.4 |  |  | 7 |  |  |
| GW 001 | pH, Field in SU - instantaneous minimum | Report | 7.1 |  |  |  |  |  | 7.4 |  |  | 7 |  |  |
| GW 002 | Chloride, Total in mg/L - calendar month maximum | Report | 284 |  |  |  |  |  | 390 |  |  | 399 |  |  |
| GW 002 | Elevation of GW Relative to Mean Sea Level in ft - instantaneous maximum | Report | 1102.2 |  |  |  |  |  | 1105.81 |  |  | 1102.06 |  |  |
| GW 002 | Nitrite Plus Nitrate, Total (as N) in mg/L - calendar month maximum | 10 | 12 |  |  |  |  |  | 12 |  |  | 12.9 |  |  |
| GW 002 | Nitrogen, Ammonia, Total (as N) in mg/L - calendar month maximum | Report | <.02 |  |  |  |  |  | <.02 |  |  | <.02 |  |  |
| GW 002 | Nitrogen, Kjeldahl, Total in mg/L - calendar month maximum | Report | <.3 |  |  |  |  |  | 12 |  |  | 1.1 |  |  |
| GW 002 | Specific Conductance, Field in umhos/cm - instantaneous maximum | Report | 1980 |  |  |  |  |  | 2008 |  |  | 2030 |  |  |
| GW 002 | Temperature, Water (C) in degrees C - instantaneous maximum | Report | 11 |  |  |  |  |  | 7 |  |  | 12 |  |  |
| GW 002 | pH, Field in SU - instantaneous maximum | Report | 7.2 |  |  |  |  |  | 7.4 |  |  | 6.9 |  |  |
| GW 002 | pH, Field in SU - instantaneous minimum | Report | 7.2 |  |  |  |  |  | 7.4 |  |  | 6.9 |  |  |
| GW 003 | Chloride, Total in mg/L - calendar month maximum | Report | 372 |  |  |  |  |  | 370 |  |  | 26 |  |  |
| GW 003 | Elevation of GW Relative to Mean Sea Level in ft - instantaneous maximum | Report | 1088.59 |  |  |  |  |  | 1099.8 |  |  | 1092.83 |  |  |
| GW 003 | Nitrite Plus Nitrate, Total (as N) in mg/L - calendar month maximum | 10 | 11 |  |  |  |  |  | 33 |  |  | 15 |  |  |
| GW 003 | Nitrogen, Ammonia, Total (as N) in mg/L - calendar month maximum | Report | <.02 |  |  |  |  |  | <.02 |  |  | <.02 |  |  |
| GW 003 | Nitrogen, Kjeldahl, Total in mg/L - calendar month maximum | Report | <.3 |  |  |  |  |  | .14 |  |  | 1.2 |  |  |
| GW 003 | Specific Conductance, Field in umhos/cm - instantaneous maximum | Report | 1920 |  |  |  |  |  | 1912 |  |  | 1980 |  |  |
| GW 003 | Temperature, Water (C) in degrees C - instantaneous maximum | Report | 10 |  |  |  |  |  | 7 |  |  | 11 |  |  |
| GW 003 | pH, Field in SU - instantaneous maximum | Report | 7.2 |  |  |  |  |  | 7.3 |  |  | 6.9 |  |  |
| GW 003 | pH, Field in SU - instantaneous minimum | Report | 7.2 |  |  |  |  |  | 7.3 |  |  | 6.9 |  |  |
| WS 001 | BOD, Carbonaceous 05 Day (20 Deg C) in mg/L - calendar month average | Report | 42 | 51 | 84 | 94 | 80 | 119 | 81 | 56 | 69 | 64 | 47 | 27 |
| WS 001 | Flow in Mgal - calendar month total | Report | .1222 | .116 | .1509 | .1594 | .1482 | .1844 | .2192 | .1548 | .1706 | .21 | .2465 | .2053 |
| WS 001 | Flow in mgd - calendar month average | 0.0144 | .0039 | .0039 | .0049 | .0051 | .0053 | .0059 | .0073 | .0097 | .0057 | .0068 | .008 | .0068 |
| WS 001 | Flow in mgd - daily maximum | 0.0216 | .0048 | .0053 | .0067 | .0068 | .008 | .0105 | .0159 | .0199 | .0085 | .009 | .0136 | .0085 |
| WS 001 | Precipitation in in - calendar month total | Report | 2.5 | 1.3 | 1.9 | .75 | .58 | 2.4 | 3.2 | 4.2 | 1.1 | 1.5 | 3.6 | .27 |
| WS 001 | Solids, Total Suspended (TSS) in mg/L - calendar month average | Report | 27 | 21 | 33 | 31 | 32 | 34 | 21 | 22 | 22 | 21 | 27 | 21 |
| WS 001 | pH in SU - calendar month maximum | Report | 7.2 | 7.8 | 7.9 | 7.3 | 7.2 | 7.9 | 7.6 | 7.5 | 7.5 | 7.5 | 7.5 | 7.7 |
| WS 001 | pH in SU - calendar month minimum | Report | 7.2 | 7.2 | 7.8 | 7.1 | 7.1 | 7.6 | 7.5 | 7.5 | 7.4 | 7.4 | 7.4 | 7.4 |
| WS 002 | BOD, Carbonaceous 05 Day (20 Deg C) in mg/L - calendar month average | Report | 21 | 2.8 | 28 | 49 | 50 | 18 | 12 | 6.1 | 5.5 | 2.15 | 2.3 | 2.05 |
| WS 002 | Chloride, Total in mg/L - calendar month average | Report | 659 | 744 | 695 | 747 | 757 | 674 | 664 | 442 | 660 | 766 | 637 | 573 |
| WS 002 | Nitrite Plus Nitrate, Total (as N) in mg/L - calendar month average | Report | 12 | 16 | 11 | 2.9 | 4.5 | 18 | 22 | 11 | 29 | 35 | 32 | 38 |
| WS 002 | Nitrogen, Kjeldahl, Total in mg/L - calendar month average | Report | 5.3 | 8 | 9.5 | 43 | 18 | 21 | 17 | 16 | 14 | 8.3 | 27 | 5.2 |
| WS 002 | Nitrogen, Total (as N) in mg/L - calendar month average | Report | 17 | 24 | 21 | 46 | 23 | 39 | 39 | 26 | 43 | 43 | 40 | 43 |
| WS 002 | Solids, Total Suspended (TSS) in mg/L - calendar month average | Report | 13 | 12 | 13 | 22 | 18 | 9.4 | 2.2 | 6.4 | 7.3 | 7.1 | 3.7 | <4.5 |
| WS 003 | Remaining Scum Capacity in in - calendar month maximum | Report | 9 | 9.0 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 9 | 9 |
| WS 003 | Remaining Sludge Capacity in in - calendar month maximum | Report | 27 | 27.0 | 25 | 26 | 26 | 26 | 27 | 27 | 27 | 27 | 27 | 27 |
| WS 003 | Scum Depth, Maximum of Sample in in - calendar month maximum | Report | 0 | 0.0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |
| WS 003 | Sludge Depth, Maximum of Sample in in - calendar month maximum | Report | 2 | 2.0 | 2 | 2 | 6 | 4 | 3 | 7 | 0 | 2 | 8 | 5 |